## Table 1
INSTRUCTION MANUAL
NEBNext® Multiplex Oligos for Illumina® (96 Unique Dual Index Primer Pairs) NEB #E6440S/L 96/384 reactions Version 9.0_7/22
Table of Contents Workflow 2 Library Preparation Kits for use with NEBNext Multiplex Oligos for Illumina 3 NEBNext Adaptor for Illumina Overview 3 Section 1 Setting up the PCR Reactions 4 Section 2 Index Pooling Guidelines 5 Kit Components 9 Revision History 10
The NEBNext Multiplex Oligos for Illumina (96 Unique Dual Index Primer Pairs) Includes The volumes provided are sufficient for preparation of up to 96 reactions (NEB #E6440S) and 384 reactions (NEB #E6440L). All reagents should be stored at –20°C. NEBNext Adaptor for Illumina USER® Enzyme NEBNext 96 Unique Dual Index Primer Pairs Plate Each well contains a unique pair of Index Primers (S size contains 1 plate, L size contains 4 plates)
Overview The NEBNext Multiplex Oligos for Illumina (96 Unique Dual Index Primer Pairs) contains adaptors and primers that are ideally suited for multiplex sample preparation for next-generation sequencing on the Illumina platform (Illumina, Inc.). Each kit component must pass rigorous quality control standards, and for each new lot the entire set of reagents is functionally validated together by construction and sequencing of indexed libraries on an Illumina sequencing platform. For larger volume requirements, customized and bulk packaging is available by purchasing through the OEM/Bulks department at NEB. Please contact OEM@neb.com for further information.
Workflow Designed for use in library prep for DNA, ChIP DNA and RNA (but not Small RNA), the NEBNext Adaptors enable high-efficiency adaptor ligation and high library yields, with minimized adaptor-dimer formation. Incorporating a novel hairpin loop structure, the NEBNext Adaptor ligates with increased efficiency to end-repaired, dA-tailed DNA. The loop contains a U, which is removed by treatment with USER Enzyme (a combination of UDG and Endo VIII), to open up the loop and make it available as a substrate for PCR. During PCR, barcodes can be incorporated by use of the NEBNext index primers, thereby enabling multiplexing. The 96 8-base index primer pairs included in this kit are pre-mixed and are packaged in a single-use 96-well plate with a pierceable foil seal. NEBNext Oligos can be used with NEBNext products, and with other standard Illumina-compatible library preparation protocols. Figure 1. Workflow demonstrating the use of NEBNext Multiplex Oligos for Illumina (96 Unique Dual Index Primer Pairs).
U T NEBNext Adaptor Compatible with: • DNA • ChIP DNA • RNA (non-Small RNA)
DNA U Uracil Barcode 1 Barcode 2 USER Enzyme
5´
Please Refer to the Kit Specific Protocol for using the NEBNext Multiplex Oligos for Illumina For compatibility of NEBNext Multiplex Oligos please refer to the NEBNext Multiplex Oligos Selection Chart at neb.com/oligos
NEBNext Adaptor for Illumina Overview NEBNext Adaptor for Illumina sequence: 5´-/5Phos/GAT CGG AAG AGC ACA CGT CTG AAC TCC AGT CdUA CAC TCT TTC CCT ACA CGA CGC TCT TCC GAT C-s-T-3´ The following sequences are used for adaptor trimming of NEBNext adaptors for Illumina. Read 1 AGATCGGAAGAGCACACGTCTGAACTCCAGTCA Read 2 AGATCGGAAGAGCGTCGTGTAGGGAAAGAGTGT
Section 1 Setting up the PCR Reactions Symbols
This caution sign signifies a step in the protocol that has multiple paths leading to the same end point but is dependent on a user variable, like the amount of input DNA. 1.1. PCR Amplification
For < 96 samples, follow the protocol in Section 1.1A. For 96 samples, follow the protocol in Section 1.1B.
1.1A. Setting up the PCR reactions (< 96 samples) 1.1A.1. Determine the number of libraries that will be amplified and pooled for subsequent sequencing. 1.1A.2. Ensure that you choose a valid combination of barcode primers based on color balance guidelines in Section 2. 1.1A.3. Thaw the 96 Unique Dual Index Primers Plate for 10-15 minutes at room temperature. 1.1A.4. Remove the hard plastic plate cover. Mix briefly by vortexing and then centrifuge the plate (280 × g for ~1 min) to collect all of the primer at the bottom of each well. 1.1A.5. Orient the 96 Unique Dual Index Primers Plate as indicated in Figure 1.1 (red stripe towards the user). With a pipette tip, pierce the desired well(s) (Figure 1.1A) and transfer the volume of primer mix required for the PCR reaction to the PCR plate/tubes (see specific library construction manual for protocol). It is important to change pipette tips before piercing a new well to avoid cross contamination of indexed primers. Alternatively, the wells can be pierced using the bottom of clean PCR strip tubes (see Figure 1.1B) prior to pipetting the primer mix. Use a new, clean strip tube for each new well to be pierced. Note: Each well contains a unique pair of index primers. There is enough primer in each well for one PCR reaction. Do not reuse primer if the seal has been previously pierced to avoid contamination with other indexed primers. 1.1A.6. Proceed with the PCR reaction according to the specific library construction manual.
Figure 1.1. NEBNext Unique Dual Index Pairs Plate
1.1B Setting up the PCR reactions (96 samples) 1.1B.1. Thaw the 96 Unique Dual Index Primer Pairs plate for 10-15 minutes at room temperature. 1.1B.2. Remove the hard plastic plate cover. Mix briefly by vortexing and then centrifuge the plate (280 × g for ~1 min) to collect all of the primer at the bottom of each well. 1.1B.3. Orient the 96 Unique Dual Index Primer Pairs plate as indicated in Figure 1.1 (red stripe towards the user). With a pipette tip, pierce the wells (Figure 1.1A) and transfer the volume of primer mix required for the PCR reaction to the PCR plate (see specific library construction manual for protocol). It is important to change pipette tips before piercing a new well to avoid cross contamination of indexed primers. Alternatively, the wells can be pierced using the bottom of clean PCR strip tubes (see Figure 1.1B) prior to pipetting the primer mix. Use a new, clean strip tube for each new well to be pierced. Note: Each well contains a unique pair of index primers. There is enough primer in each well for one PCR reaction. Do not reuse primer if the seal has been previously pierced to avoid contamination with other indexed primers. 1.1B.4. Proceed with the PCR reaction according to the specific library construction manual.
Section 2 Index Pooling Guidelines: 96 Reaction Kit
For a link to download a sample sheet with the index sequences for use with the Illumina Experiment Manager (IEM) please visit the "Usage Guidelines" sub tab located under the "protocols, manuals and usage" tab on the E6440 product page. For all HiSeq®/MiSeq® sequencers, Illumina uses a red laser/LED to sequence bases A and C and a green laser/LED to sequence bases G and T. For each cycle, both the red and the green channel need to be read to ensure proper image registration (i.e. A or C must be in each cycle, and G or T must be in each cycle). If this color balance is not maintained, sequencing the index read could fail. Table 2.1 lists some valid combinations (up to 8-plex) that can be sequenced together. For combinations > 8 choose any column and add any plex combinations as needed. For the NovaSeq®/NextSeq®/MiniSeq® which utilize 2 color chemistry, valid index combinations must include some indices that do not start with GG in the first two cycles. Use Table 2.1 for some suggested combinations.
Table 2.1.
PLEX | WELL POSITION
< 4 | Not recommended
4 | A6, B6, C6, and D6 A12, B12, C12, and D12 B6, C6, D6, and E6 B12, C12, D12, and E12 C1, D1, E1, and F1 C7, D7, E7, and F7 E4, F4, G4, and H4 E10, F10, G10, H10
5 | A1, B1, C1, D1, E1 A6, B6, C6, D6, E6 A7, B7, C7, D7, E7 A12, B12, C12, D12, E12 B1, C1, D1, E1, F1 B6, C6, D6, E6, F6 B7, C7, D7, E7, F7 B12, C12, D12, E12, F12 C1, D1, E1, F1, G1 C2, D2, E2, F2, G2 C4, D4, E4, F4, G4 C7, D7, E7, F7, G7 C8, D8, E8, F8, G8 C10, D10, E10, F10, G10 D4, E4, F4, G4, H4 D10, E10, F10, G10, H10
6-7 | Any 5 plex plus 1-2 adjacent wells from the same column
8 | Any column
5´
3´
5´
5´
3´
3´
5´
5´
3´
3´
5´
5´
3´
3´
5´
5´ ´
3´ 5´
5´ ´
3´ 5´
5´ ´
3´ 5´
5´
3´ A
A 3´
5´
Adaptor Ligation
5´
3´
U
T A
A T
U
3´ 5´
USER Excision
5´ 3´
USER
3´
5´
PCR Enrichment
BC1 P7 ´
3´
5´
3´
5´
5´
P7 BC1
3´
5´
5´
3´
3´ ´
5´ ´
P5 BC2
3´
BC1 P7
5´
B
A

## Table 2
*Forward Strand Workflow for the following instruments: NovaSeq 6000 with v1.0 reagents kits, MiniSeq with rapid reagent kits, MiSeq®, HiSeq® 2000/2500 (pair-end flow cell), HiSeq 3000/4000 (single-read flow cell). *Reverse Strand Workflow for the following instruments: iSeq 100, MiniSeq with standard reagent kits, NextSeq Systems, NovaSeq 6000 with v1.5 reagent kits, HiSeq 2000/5000 (single-read flow cell), HiSeq 3000/4000 (paired-end flow cell).
Table 2.2. Lists each index sequence color coded to correspond to the red/green channel. For combinations of valid indices, ensure that you will have signal in both the red and green channels in each cycle. See below for examples of Good and Bad index combinations based on HiSeq/MiSeq guidelines:
BAD
WELL POSITION | EXPECTED i7 INDEX READ | [7 empty] | EXPECTED i5 INDEX READ
[9 empty] | FORWARD STRAND WORKFLOW* | [7 empty] | REVERSE STRAND WORKFLOW*
E8 | T | A T |  | G G |  | C | A C |  | T | T | G | C | G | A | G | A | T | C | T | C | G | C | A | A
F8 | G | A A |  | T C |  | A | C C |  | G | A | A | C | G | A | A | G | C | T | T | C | G | T | T | C
G8 | G | T A |  | A G |  | G | T G |  | C | G | A | A | T | T | G | C | G | C | A | A | T | T | C | G
H8 | C | G A |  | G A |  | G | A A |  | G | G | A | A | G | A | G | A | T | C | T | C | T | T | C | C
|  |   |  |   |  |  |   | bar: FORWARD STRAND WORKFLOW* T G C G to REVERSE STRAND WORKFLOW* A C G C
A1 | T T T T X | T A C G T C A C   |  | C C T C C A G G   |  | G T G T X | A C G A G T C T   |  | C G C T  | G T A C  | A C G C  | A C T A  | T T G T X | A T C T  | C G T G  | G A T C  | C T A G  | G C A C  | T A G A  | A A C A X | T G A T  | T G C G  | G A T G  | G C G A 
B1
C1
D1
GOOD
WELL POSITION | EXPECTED i7 INDEX READ | [7 empty] | FORWARD STRAND WORKFLOW* T G C G: EXPECTED i5 INDEX READ
[9 empty] | FORWARD STRAND WORKFLOW* | [7 empty] | REVERSE STRAND WORKFLOW*
C1 | T | T | C | C | A | G | G | T | C | A | G | T | G | C | T | T | A | A | G | C | A | C | G | G
D1 | T | A | C | G | G | T | C | T | T | C | C | A | T | T | G | C | G | C | A | A | T | G | G | A
E1 | A | A | G | A | C | C | G | T | G | T | C | G | A | T | T | G | C | A | A | T | C | G | A | C
F1 | C | A | G | G | T | T | C | A | A | T | A | A | C | G | C | C | G | G | C | G | T | T | A | T
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
A12 | C | G | G | C | A | T | T | A | G | T | C | A | G | T | C | A | T | G | A | C | T | G | A | C
B12 | C | A | C | G | C | A | A | T | C | C | T | T | C | C | A | T | A | T | G | G | A | A | G | G
C12 | G | G | A | A | T | G | T | C | A | G | G | A | A | C | A | C | G | T | G | T | T | C | C | T
D12 | T | G | G | T | G | A | A | G | C | T | T | A | C | A | G | C | G | C | T | G | T | A | A | G
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
The index primer sequences, for different Illumina sequencer input sheets are indicated in Table 2.2.

## Table 3
Table 2.3 Index Sequences (Color coded based on HiSeq/MiSeq guidelines)
WELL POSITION | EXPECTED i7 INDEX READ |  | EXPECTED i5 INDEX READ
| i7 INDEX ID |  | i5 INDEX ID | FORWARD STRAND WORKFLOW* | REVERSE STRAND WORKFLOW*
A1 | S762 | TTACCGAC | S512 | CGAATACG | CGTATTCG
B1 | S713 | TCGTCTGA | S586 | GTCCTTGA | TCAAGGAC
C1 | S736 | TTCCAGGT | S543 | CAGTGCTT | AAGCACTG
D1 | S709 | TACGGTCT | S575 | TCCATTGC | GCAATGGA
E1 | S732 | AAGACCGT | S550 | GTCGATTG | CAATCGAC
F1 | S774 | CAGGTTCA | S506 | ATAACGCC | GGCGTTAT
G1 | S747 | TAGGAGCT | S524 | GCCTTAAC | GTTAAGGC
H1 | S794 | TACTCCAG | S590 | GGTATAGG | CCTATACC
A2 | S729 | AGTGACCT | S591 | TCTAGGAG | CTCCTAGA
B2 | S777 | AGCCTATC | S526 | TGCGTAAC | GTTACGCA
C2 | S772 | TCATCTCC | S567 | CTTGCTAG | CTAGCAAG
D2 | S725 | CCAGTATC | S538 | AGCGAGAT | ATCTCGCT
E2 | S755 | TTGCGAGA | S566 | TATGGCAC | GTGCCATA
F2 | S760 | GAACGAAG | S511 | GAATCACC | GGTGATTC
G2 | S716 | CGAATTGC | S559 | GTAAGGTG | CACCTTAC
H2 | S708 | GGAAGAGA | S521 | CGAGAGAA | TTCTCTCG
A3 | S702 | TCGGATTC | S523 | CGCAACTA | TAGTTGCG
B3 | S796 | CTGTACCA | S507 | CACAGACT | AGTCTGTG
C3 | S757 | GAGAGTAC | S545 | TGGAAGCA | TGCTTCCA
D3 | S783 | TCTACGCA | S546 | CAATAGCC | GGCTATTG
E3 | S722 | GCAATTCC | S578 | CTCGAACA | TGTTCGAG
F3 | S710 | CTCAGAAG | S581 | GGCAAGTT | AACTTGCC
G3 | S770 | GTCCTAAG | S540 | AGCTACCA | TGGTAGCT
H3 | S734 | GCGTTAGA | S592 | CAGCATAC | GTATGCTG
A4 | S763 | CAAGGTAC | S505 | CGTATCTC | GAGATACG
B4 | S797 | AGACCTTG | S501 | TTACGTGC | GCACGTAA
C4 | S735 | GTCGTTAC | S554 | AGCTAAGC | GCTTAGCT
D4 | S727 | GTAACCGA | S598 | AAGACACC | GGTGTCTT
E4 | S742 | GAATCCGT | S551 | CAACTCCA | TGGAGTTG
F4 | S795 | CATGAGCA | S517 | GATCTTGC | GCAAGATC
G4 | S749 | CTTAGGAC | S565 | CTTCACTG | CAGTGAAG
H4 | S773 | ATCTGACC | S593 | CTCGACTT | AAGTCGAG
A5 | S769 | TCCTCATG | S519 | GTACACCT | AGGTGTAC
B5 | S752 | AGGATAGC | S544 | CCAAGGTT | AACCTTGG
C5 | S704 | GGAGGAAT | S585 | GAACGGTT | AACCGTTC
D5 | S715 | GACGTCAT | S518 | CCAGTTGA | TCAACTGG
E5 | S753 | CCGCTTAA | S548 | GTCATCGT | ACGATGAC
F5 | S758 | GACGAACT | S568 | CAATGCGA | TCGCATTG
G5 | S784 | TCCACGTT | S541 | GGTTGAAC | GTTCAACC
H5 | S714 | AACCAGAG | S520 | CTTCGGTT | AACCGAAG
A6 | S771 | GTCAGTCA | S531 | CGGCATTA | TAATGCCG
B6 | S779 | CCTTCCAT | S589 | CACGCAAT | ATTGCGTG
C6 | S788 | AGGAACAC | S587 | GGAATGTC | GACATTCC
D6 | S739 | CTTACAGC | S503 | TGGTGAAG | CTTCACCA
E6 | S737 | TACCTGCA | S576 | GGACATCA | TGATGTCC
F6 | S728 | AGACGCTA | S582 | GGTGTACA | TGTACACC
G6 | S780 | CAACACAG | S530 | GATAGCCA | TGGCTATC
H6 | S761 | GTACCACA | S533 | CCACAACA | TGTTGTGG
A7 | S712 | CGAATACG | S562 | TTACCGAC | GTCGGTAA
B7 | S786 | GTCCTTGA | S513 | TCGTCTGA | TCAGACGA
C7 | S743 | CAGTGCTT | S536 | TTCCAGGT | ACCTGGAA
D7 | S775 | TCCATTGC | S509 | TACGGTCT | AGACCGTA
E7 | S750 | GTCGATTG | S532 | AAGACCGT | ACGGTCTT
F7 | S706 | ATAACGCC | S574 | CAGGTTCA | TGAACCTG
G7 | S724 | GCCTTAAC | S547 | TAGGAGCT | AGCTCCTA
H7 | S790 | GGTATAGG | S594 | TACTCCAG | CTGGAGTA
A8 | S791 | TCTAGGAG | S529 | AGTGACCT | AGGTCACT
B8 | S726 | TGCGTAAC | S577 | AGCCTATC | GATAGGCT
C8 | S767 | CTTGCTAG | S572 | TCATCTCC | GGAGATGA
D8 | S738 | AGCGAGAT | S525 | CCAGTATC | GATACTGG
E8 | S766 | TATGGCAC | S555 | TTGCGAGA | TCTCGCAA
F8 | S711 | GAATCACC | S560 | GAACGAAG | CTTCGTTC
G8 | S759 | GTAAGGTG | S516 | CGAATTGC | GCAATTCG
H8 | S721 | CGAGAGAA | S508 | GGAAGAGA | TCTCTTCC
A9 | S723 | CGCAACTA | S502 | TCGGATTC | GAATCCGA
B9 | S707 | CACAGACT | S596 | CTGTACCA | TGGTACAG
C9 | S745 | TGGAAGCA | S557 | GAGAGTAC | GTACTCTC
D9 | S746 | CAATAGCC | S583 | TCTACGCA | TGCGTAGA
E9 | S778 | CTCGAACA | S522 | GCAATTCC | GGAATTGC
F9 | S781 | GGCAAGTT | S510 | CTCAGAAG | CTTCTGAG
G9 | S740 | AGCTACCA | S570 | GTCCTAAG | CTTAGGAC
H9 | S792 | CAGCATAC | S534 | GCGTTAGA | TCTAACGC
A10 | S705 | CGTATCTC | S563 | CAAGGTAC | GTACCTTG
B10 | S701 | TTACGTGC | S597 | AGACCTTG | CAAGGTCT
C10 | S754 | AGCTAAGC | S535 | GTCGTTAC | GTAACGAC
D10 | S798 | AAGACACC | S527 | GTAACCGA | TCGGTTAC
E10 | S751 | CAACTCCA | S542 | GAATCCGT | ACGGATTC
F10 | S717 | GATCTTGC | S595 | CATGAGCA | TGCTCATG
G10 | S765 | CTTCACTG | S549 | CTTAGGAC | GTCCTAAG
H10 | S793 | CTCGACTT | S573 | ATCTGACC | GGTCAGAT
A11 | S719 | GTACACCT | S569 | TCCTCATG | CATGAGGA
B11 | S744 | CCAAGGTT | S552 | AGGATAGC | GCTATCCT
C11 | S785 | GAACGGTT | S504 | GGAGGAAT | ATTCCTCC
D11 | S718 | CCAGTTGA | S515 | GACGTCAT | ATGACGTC
E11 | S748 | GTCATCGT | S553 | CCGCTTAA | TTAAGCGG
F11 | S768 | CAATGCGA | S558 | GACGAACT | AGTTCGTC
G11 | S741 | GGTTGAAC | S584 | TCCACGTT | AACGTGGA
H11 | S720 | CTTCGGTT | S514 | AACCAGAG | CTCTGGTT
A12 | S731 | CGGCATTA | S571 | GTCAGTCA | TGACTGAC
B12 | S789 | CACGCAAT | S579 | CCTTCCAT | ATGGAAGG
C12 | S787 | GGAATGTC | S588 | AGGAACAC | GTGTTCCT
D12 | S703 | TGGTGAAG | S539 | CTTACAGC | GCTGTAAG
E12 | S776 | GGACATCA | S537 | TACCTGCA | TGCAGGTA
F12 | S782 | GGTGTACA | S528 | AGACGCTA | TAGCGTCT
G12 | S730 | GATAGCCA | S580 | CAACACAG | CTGTGTTG
H12 | S733 | CCACAACA | S561 | GTACCACA | TGTGGTAC

## Table 4
Kit Components The NEBNext Multiplex Oligos for Illumina (96 Unique Dual Index Primer Pairs) are functionally validated through library preparation using the NEBNext Library Prep Kits and sequencing on the Illumina platforms.
NEB #E6440S Table of Components
NEB # | CONCENTRATION | PRODUCT | VOLUME
E6612A | 15 µM | NEBNext Adaptor for Illumina | 0.96 ml
E6610A |  | USER Enzyme | 0.288 ml
E6441A | 5 µM each | NEBNext 96 Unique Dual Index Primer Pairs Plate | 1 plate (10 µl/well)
NEB #E6440L Table of Components
NEB # | CONCENTRATION | PRODUCT | VOLUME
E6612A | 15 µM | NEBNext Adaptor for Illumina | 4 x 0.96 ml
E6610AA |  | USER Enzyme | 2 x 0.576 ml
E6441A | 5 µM each | NEBNext 96 Unique Dual Index Primer Pairs Plate | 4 plates (10 µl/well)

## Table 5
Revision History
REVISION # | DESCRIPTION | DATE
1 | N/A
2 | Add concentration column to table of components. | 12/18
3 | Add new column heading text to Table 2.2. | 4/19
4 | Placed manual into a new format | 7/19
5 | Corrected Kit Components tables | 8/19
6 | Updated to new manual format. | 2/20
7 | Update Table 2.3 header of fourth column | 7/20
8 | Updating tables to have the most current Illumina instrument information and removed HiSeqX. | 2/21
9 | Update Protocol and Tables | 7/22
This product is intended for research purposes only. This product is not intended to be used for therapeutic or diagnostic purposes in humans or animals. This product is covered by one or more patents, trademarks and/or copyrights owned or controlled by New England Biolabs, Inc. The use of trademark symbols does not necessarily indicate that the name is trademarked in the country where it is being read; rather, it indicates where the document was originally developed. For more information about commercial rights, please email us at busdev@neb.com. While NEB develops and validates its products for various applications, the use of this product may require you to obtain additional third party intellectual property rights for certain applications. AMPURE® is a registered trademark of Beckman Coulter, Inc. B CORPORATION® is a registered trademark of B Lab IP, LLC, Inc. BIOANALYZER® is a registered trademark of Agilent Technologies, Inc. EPPENDORF® and LOBIND® are registered trademarks of Eppendorf AG. ILLUMINA®, HISEQ®, MISEQ®, NEXTSEQ® and NOVASEQ® are registered trademarks of Illumina, Inc. © Copyright 2022, New England Biolabs, Inc.; all rights reserved
ISO 9001 Registered
Quality Management
ISO 14001 Registered
Environmental Management
ISO 13485 Registered
Medical Devices
www.neb.com |  |  | be INSPIRED drive DISCOVERY stay GENUINE
New England Biolabs, Inc., 240 County Road, Ipswich, MA 01938-2723 Telephone: (978) 927-5054 Toll Free: (USA Orders) 1-800-632-5227 (USA Tech) 1-800-632-7799 Fax: (978) 921-1350 e-mail: info@neb.com